## MW Bridge
Section 2 — Data center demand bridge
Hyperscaler capex → real-estate capex → MW → colocation-addressable demand vs deliverable supply
Blue = your assumption · black = formula · yellow = key driver to own · sourced cells carry source comments (hover).
A. Sourced anchors (verified, Q1 2026)
Combined hyperscaler 2026 capex | 700 | $B
Share AI-directed | 75% | % of capex
AI-directed capex | 525 | $B (= capex × AI share)
Build cost — shell & core | 11.3 | $M / MW · 2026
Build cost — AI-ready facility | 20 | $M / MW · excl. GPUs
Build cost — all-in incl. equipment | 35 | $M / MW · incl. GPUs
B. Your assumptions — set these
Facility / real-estate share of AI capex | 30% | % of AI capex · rest = GPUs/servers/network
Real-estate cost basis to use | 20 | $M / MW · pick row 9 / 10 / 11
Colocation-addressable share (vs self-build) | 40% | % of new demand · lease vs build
Capex deployment period | 1 | yrs
C. The bridge (computed)
AI-directed capex | 525 | $B
→ Facility / real-estate capex | 157.5 | $B (= AI capex × facility share)
→ Gross new data-center capacity | 7875 | MW (= $B × 1,000 ÷ $M per MW)
→ Annualized gross capacity | 7875 | MW / yr
→ Colocation-addressable demand | 3150 | MW / yr · REIT-relevant output
→ Hyperscaler self-build (residual) | 4725 | MW / yr
D. Supply side (sourced)
Primary-market supply, 2025 | 9432 | MW
Under construction, YE 2025 | 5900 | MW
Record net absorption, 2025 | 2498 | MW · vs 1,810 in 2024
Pipeline pre-leased | 74% | %
Avg power-connection wait | 4 | yrs
E. The gap (output)
Colocation-addressable demand (bridge) | 3150 | MW / yr
Record net absorption, 2025 (actual) | 2498 | MW · what the market cleared
Implied demand vs 2025 absorption | 1.261 | x · >1 ⇒ capex implies more demand than supply cleared
Power-connection wait gating new supply | 4 | yrs
Your absorption verdict: | [your analysis] | ← state the implied imbalance and what it means for the REITs
Cross-check: 2025 US construction starts ~$77.7B ÷ ~$10.7M/MW ≈ ~7,260 MW broke ground — validates the capex→MW bridge.
Note: GPUs/servers (the majority of hyperscaler capex) are tenant capex, not REIT-addressable; this bridge isolates the building + power + cooling layer the landlord provides.
F. Sensitivity — colocation-addressable demand (MW / yr)
$/MW basis (row 15) and AI capex (row 8) held fixed. Rows = facility share of AI capex; columns = colocation share. Base case (30%, 40%) highlighted.
facility ↓ / colo → | 40% | 50%
25% | 2625 | 3281.25
30% | 3150 | 3937.5
40% | 4200 | 5250
55% | 5775 | 7218.75
Reference: 2025 record net absorption = 2,498 MW (CBRE). Demand ÷ that = the absorption ratio; base case (3,150 MW) = 1.26×. Across the grid the ratio runs ~1.05× to ~2.9× — i.e. the capex implies demand at or above the record in every case.
Note on A42: Source: ConstructConnect 2025 (construction starts); Turner & Townsend 2025 ($/MW).
Note on B6: Source: Reuters / FT / 24-7 Wall St., Q1 2026 earnings. Combined MSFT+GOOGL+AMZN+META ~$700B.
Note on B7: Source: HeyGotrade / FT, Q1 2026. ~75% of hyperscaler capex earmarked for AI infrastructure.
Note on B9: Source: JLL / Turner & Townsend, 2026 outlook. Global avg shell-and-core ~$11.3M/MW (2026), up from $10.7M (2025).
Note on B10: Source: TrueLook 2025 analysis. AI-ready facilities $20M/MW+ (excl. GPUs), driven by liquid cooling and power density.
Note on B11: Source: Cushman & Wakefield / Bernstein, 2025. All-in AI cost $30-40M/MW incl. equipment; 35 = midpoint.
Note on B14: RECOMMENDED 30% (for your review). Share of AI capex going to building + power + cooling (the landlord-delivered layer) vs GPUs/servers/networking (tenant capex, the majority). 30% is the conservative, GPU-heavy end; cost benchmarks ($20M/MW facility vs $30-40M/MW all-in) imply up to ~55%. See sensitivity (Section F). Source: derived from JLL/Turner & Townsend, Cushman & Wakefield, TrueLook, 2025-26.
Note on B15: RECOMMENDED $20M/MW (for your review): AI-ready powered shell + cooling, excl GPUs — the right basis for landlord-delivered colocation capacity. Alternatives: $11.3M shell-and-core, $35M all-in incl. equipment. Source: TrueLook 2025; JLL/Turner & Townsend 2026.
Note on B16: RECOMMENDED 40% (for your review): share of new AI data-center demand met by third-party colocation (DLR/EQIX/IRM) vs hyperscaler self-build. Hyperscalers run a dual lease/self-build strategy; ~40-50% leased is a common range; 40% is the conservative end. Source: JLL 2026 outlook.
Note on B17: Years over which the 2026 capex converts to built capacity. 1 = treat 2026 capex as a single build-year.
Note on B28: Source: CBRE North America Data Center Trends H2 2025. Primary-market supply 9,432 MW (+36% YoY).
Note on B29: Source: CBRE H2 2025. ~5.9 GW under construction (down from 6.3 GW in 2024).
Note on B30: Source: CBRE H2 2025. Record primary-market net absorption 2,497.6 MW (vs 1,809.5 MW in 2024).
Note on B31: Source: JLL / CBRE 2025. ~73-74% of under-construction pipeline pre-leased.
Note on B32: Source: JLL midyear 2025. Average U.S. grid power-connection wait ~4 years — the binding supply constraint.